## RBRM
R E Q U E S T F O R B U I L D I N G R E P A I R S A N D M A I N T E N A N C E
RBRM no.:
| Name: | [5 empty] | Date of Request:
| Department: | [5 empty] | BMC no. (if applicable):
| R E Q U E S T | [5 empty] | To be filled-out by Inspector ONLY
[7 empty] | Minor | Major | Remarks
| Prepared by: |  | Verified and Inspected by: |  | Approved by: |  |  | Note: (After Completion of Repair)
Completed on: _________________________
Completed by: _________________________
|  | Signature over PRINTED NAME |  | Signature over PRINTED NAME |  | Signature over PRINTED NAME |  |  | Signature over PRINTED NAME
|  | Date: |  | Date: |  | Date: |  | Inspected by: __________________________
Signature over PRINTED NAME
| Prepared by: |  | Verified by: |  | Noted by:
|  | Signature over PRINTED NAME |  | Signature over PRINTED NAME |  | Signature over PRINTED NAME
|  | Date: |  | Date: |  | Date:

## Weekly-BMC
B U I L D I N G M A I N T E N A N C E C H E C K L I S T
BMC no.: __________
SITE | Weekly | REMARKS
Remove and dispose of all fallen tree limbs, dead shrubs, etc. | a
Check, patch and repair walkway surfaces. |  | IMMEDIATELY FOR SAFETY
Paint walkway markings. |  | IF NECESSARY
Repair and paint fences. |  | IF NECESSARY
BUILDING EXTERIOR | Weekly | REMARKS
Replace cracked or missing putty at windows. |  | IMMEDIATELY FOR SAFETY
Replace broken window glass as needed. |  | IMMEDIATELY FOR SAFETY
Scrape and paint building exterior and trim. |  | IF NECESSARY
Wash accumulated dirt on building surfaces. |  | IF NECESSARY
Touch up paint on building exterior. |  | IF NECESSARY
ROOF | Weekly | REMARKS
Perform necessary roof repairs. |  | AS REQUIRED
BUILDING INTERIOR | Weekly | REMARKS
Remove all rubbish, boxes, debris and combustibles from:
Paths of exit | a
Doorways | a
Stairs | a
Under stairs | a
Utility rooms | a
Around flue and chimneys | a
Around heat-producing equipment | a
Electrical panel areas | a
MECHANICAL EQUIPMENT | Weekly | REMARKS
Check emergency fire pump | a
Check elevator |  | Per service agreement
Service all air-conditioning equipment. |  | Per service agreement
Check other machineries |  | Per service agreement
Pump out septic tanks.
Date last cleaned: _______________ |  | AS REQUIRED
ELECTRICAL EQUIPMENT | Weekly | REMARKS
Replace burned out light bulbs. |  | IMMEDIATELY FOR SAFETY
Repair or replace non-functioning switches, receptacles and outlets immediately. | a
Replace washers or packing on leaking faucets, etc. | a
Replace frayed wiring immediately. |  | IMMEDIATELY FOR SAFETY
Inspect and clean out grease traps. |  | Per service agreement
Note: This is a starting list; the Company may want to add or remove items by inserting and deleting rows on this worksheet.
Page 1 of 1

## Monthly-BMC
B U I L D I N G M A I N T E N A N C E C H E C K L I S T
BMC no.: __________
SITE | Monthly | REMARKS
Remove brush and weed growth adjacent to building walls and electrical equipment. | a
Trim and prune shrubs and trees. | a
Service lawnmowers. | a
Check, patch and repair walkway surfaces. | a | IMMEDIATELY FOR SAFETY
Paint walkway markings. |  | IF NECESSARY
Repair and paint fences. |  | IF NECESSARY
BUILDING EXTERIOR | Monthly | REMARKS
Wash windows. | a
Replace cracked or missing putty at windows. |  | IMMEDIATELY FOR SAFETY
Replace broken window glass as needed. |  | IMMEDIATELY FOR SAFETY
Scrape and paint building exterior and trim. |  | IF NECESSARY
Wash accumulated dirt on building surfaces. |  | IF NECESSARY
Touch up paint on building exterior. |  | IF NECESSARY
ROOF | Monthly | REMARKS
Perform necessary roof repairs. |  | AS REQUIRED
BUILDING INTERIOR | Monthly | REMARKS
Clean windows, blinds, draperies, etc. | a
Check floors for broken tiles or torn carpet. | a
MECHANICAL EQUIPMENT | Monthly | REMARKS
Check hot water heater for any fuel or water leaks. | a
Check water pumps and tanks | a
Check generator sets | a
Check elevator |  | Per service agreement
Service all air-conditioning equipment. |  | Per service agreement
Check other machineries |  | Per service agreement
Pump out septic tanks.
Date last cleaned: _______________ |  | AS REQUIRED
ELECTRICAL EQUIPMENT | Monthly | REMARKS
Replace burned out light bulbs. |  | IMMEDIATELY FOR SAFETY
Service well pump and water storage tank. | a
Repair or replace broken fixtures. | a
Replace frayed wiring immediately. |  | IMMEDIATELY FOR SAFETY
Inspect and clean out grease traps. |  | Per service agreement
Note: This is a starting list; the Company may want to add or remove items by inserting and deleting rows on this worksheet.
Page 1 of 1

## Quarterly-BMC
B U I L D I N G M A I N T E N A N C E C H E C K L I S T
BMC no.: __________
SITE | Quarterly | REMARKS
Check, patch and repair walkway surfaces. |  | IMMEDIATELY FOR SAFETY
Clean all site drains. | a
Paint walkway markings. |  | IF NECESSARY
Repair and paint fences. |  | IF NECESSARY
BUILDING EXTERIOR | Quarterly | REMARKS
Replace cracked or missing putty at windows. |  | IMMEDIATELY FOR SAFETY
Replace broken window glass as needed. |  | IMMEDIATELY FOR SAFETY
Lubricate exterior door hinges and hardware. | a
Inspect exterior walls for loose mortar, lintel failures and structural cracks. | a
Scrape and paint building exterior and trim. |  | IF NECESSARY
Wash accumulated dirt on building surfaces. |  | IF NECESSARY
Touch up paint on building exterior. |  | IF NECESSARY
ROOF | Quarterly | REMARKS
Perform necessary roof repairs. |  | AS REQUIRED
BUILDING INTERIOR | Quarterly | REMARKS
Check wood cabinet and trim and apply wood protection. | a
MECHANICAL EQUIPMENT | Quarterly | REMARKS
Check servicing of fire extinguisher | a
Check openings or motorized dampers which provide combustion air to hot water heaters. | a
Check cleanout openings, doors, etc., for air leakage and corrosion. | a
Check elevator |  | Per service agreement
Service all air-conditioning equipment. |  | Per service agreement
Check other machineries |  | Per service agreement
Pump out septic tanks.
Date last cleaned: _______________ |  | AS REQUIRED
ELECTRICAL EQUIPMENT | Quarterly | REMARKS
Replace burned out light bulbs. |  | IMMEDIATELY FOR SAFETY
Test emergency lighting system. | a
Test all exit lights. | a
Insure space in front of electrical panels is clear. | a
Replace frayed wiring immediately. |  | IMMEDIATELY FOR SAFETY
Inspect and clean out grease traps. |  | Per service agreement
Note: This is a starting list; the Company may want to add or remove items by inserting and deleting rows on this worksheet.
Page 1 of 1

## Semi-Annually-BMC
B U I L D I N G M A I N T E N A N C E C H E C K L I S T
BMC no.: __________
SITE | Semi -Annually | REMARKS
Check, patch and repair walkway surfaces. |  | IMMEDIATELY FOR SAFETY
Repair potholes in parking lots and driveways. Restripe if necessary. | a
Paint walkway markings. |  | IF NECESSARY
Repair and paint fences. |  | IF NECESSARY
BUILDING EXTERIOR | Semi -Annually | REMARKS
Replace cracked or missing putty at windows. |  | IMMEDIATELY FOR SAFETY
Replace broken window glass as needed. |  | IMMEDIATELY FOR SAFETY
Scrape and paint building exterior and trim. |  | IF NECESSARY
Wash accumulated dirt on building surfaces. |  | IF NECESSARY
Touch up paint on building exterior. |  | IF NECESSARY
ROOF | Semi -Annually | REMARKS
Perform necessary roof repairs. |  | AS REQUIRED
MECHANICAL EQUIPMENT | Semi -Annually | REMARKS
Check elevator |  | Per service agreement
Service all air-conditioning equipment. |  | Per service agreement
Check other machineries |  | Per service agreement
Pump out septic tanks.
Date last cleaned: _______________ |  | AS REQUIRED
ELECTRICAL EQUIPMENT | Semi -Annually | REMARKS
Replace burned out light bulbs. |  | IMMEDIATELY FOR SAFETY
Replace frayed wiring immediately. |  | IMMEDIATELY FOR SAFETY
Inspect and clean out grease traps. |  | Per service agreement
Note: This is a starting list; the Company may want to add or remove items by inserting and deleting rows on this worksheet.
Page 1 of 1

## Annually-BMC
B U I L D I N G M A I N T E N A N C E C H E C K L I S T
BMC no.: __________
SITE | Weekly | Monthly | Quarterly | Semi -Annually | Annually | REMARKS
Check, patch and repair walkway surfaces. |  | a |  |  |  | IMMEDIATELY FOR SAFETY
Paint walkway markings. |  |  |  |  | a | IF NECESSARY
Repair and paint fences. |  |  |  |  | a | IF NECESSARY
BUILDING EXTERIOR | Weekly | Monthly | Quarterly | Semi -Annually | Annually | REMARKS
Replace cracked or missing putty at windows. | [5 empty] | IMMEDIATELY FOR SAFETY
Replace broken window glass as needed. | [5 empty] | IMMEDIATELY FOR SAFETY
Scrape and paint building exterior and trim. |  |  |  |  | a | IF NECESSARY
Wash accumulated dirt on building surfaces. |  |  |  |  | a | IF NECESSARY
Touch up paint on building exterior. |  |  |  |  | a | IF NECESSARY
ROOF | Weekly | Monthly | Quarterly | Semi -Annually | Annually | REMARKS
Clean roof valleys. |  |  |  |  | a
Clean and test roof drains. |  |  |  |  | a
Clean and secure gutters. |  |  |  |  | a
Clean and secure downspouts. |  |  |  |  | a
Perform necessary roof repairs. | [5 empty] | AS REQUIRED
Inspect and repair metal flashings. |  |  |  |  | a
Inspect and recaulk stone or clay tile copings. |  |  |  |  | a
MECHANICAL EQUIPMENT | Weekly | Monthly | Quarterly | Semi -Annually | Annually | REMARKS
Service all ventilating equipment. |  |  |  |  | a
Check elevator | [5 empty] | Per service agreement
Service all air-conditioning equipment. | [5 empty] | Per service agreement
Check other machineries | [5 empty] | Per service agreement
Pump out septic tanks.
Date last cleaned: _______________ | [5 empty] | AS REQUIRED
ELECTRICAL EQUIPMENT | Weekly | Monthly | Quarterly | Semi -Annually | Annually | REMARKS
Replace burned out light bulbs. | [5 empty] | IMMEDIATELY FOR SAFETY
Replace frayed wiring immediately. | [5 empty] | IMMEDIATELY FOR SAFETY
Inspect and clean out grease traps. | [5 empty] | Per service agreement
Note: This is a starting list; the Company may want to add or remove items by inserting and deleting rows on this worksheet.
Page 1 of 1